## Evaluation
Substance Data
Substance | Molar Mass [g/mol] | Weighing [g] | Volume [ml] | Concentration [mol/l] |  |  | Additional data
a | 40.01 | 4 | 50 | 1.9995 |  |  | concentration [mol/l] | 55.3428
b | 60.05 | 6 | 50 | 1.9983 |  |  | cp [J/(molK)] | 75.336
Process setup
Process Points | Evaluation Start Time | Evaluation End Time | V_A [ml/min] | V_A,act [ml/min] | n_A,act [mol/s] | n_A,act,water [mol/s] | V_B [ml/min] | V_B,act [ml/min] | n_B,act [mol/s] | n_B,act,water [mol/s]
1 | 27 | 65 | 2 | 2 | 6.6611e-05 | 0.0018448 | 2 | 2 | 6.665e-05 | 0.0018448
2 | 69 | 105 | 2 | 2 | 6.6611e-05 | 0.0018448 | 2 | 2 | 6.665e-05 | 0.0018448
Raw Data Processing
Process Points | T_A [°C] | T_B [°C] | T_out [°C] | Upre [V] | Ur1 [V] | Ur2 [V] | dT_A [°C] | dT_B [°C] | dT_out [°C] | Q_Out [W]
1 | 25.7 | 25.6 | 25.5 | 25.5 | 25.5 | 25.5 | -0.7 | -0.6 | -0.5 | -0.13898
2 | 25.7 | 25.6 | 25.5 | 25.5 | 25.5 | 25.5 | -0.7 | -0.6 | -0.5 | -0.13898
Calculation
Process Points | Q_A [W] | Q_B [W] | Qpre [W] - cp flux | QSE,pre [W] | Qr1 [W] | Qr2 [W] | dHr [kJ/mol]
1 | -0.097284 | -0.083386 | -704.25 | -704.0693 | -704.25 | -704.25 | -31717.0335
2 | -0.097284 | -0.083386 | -704.25 | -704.0693 | -704.25 | -704.25 | -31717.0335

## Raw_Data_COM
Elapsed_Time | T_set | T_pre | T_r1 | T_r2 | T_r3 | T_r4 | T_r5 | T_A | T_B | T_out | U_pre | U_r1 | U_r2 | U_r3 | U_r4 | U_r5 | PWM_pre | PWM_r1 | PWM_r2 | PWM_r3 | PWM_r4 | PWM_r5 | mW_pre | mW_r1 | mW_r2 | mW_r3 | mW_r4 | mW_r5
5 | 25 | 26 | 25.9 | 25.8 | 25.7 | 25.6 | 25.5 | 25.5 | 25.5 | 25.5 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0
7 | 25 | 26 | 25.9 | 25.8 | 25.7 | 25.6 | 25.5 | 25.5 | 25.5 | 25.5 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0
9 | 25 | 26 | 25.9 | 25.8 | 25.7 | 25.6 | 25.5 | 25.5 | 25.5 | 25.5 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0
11 | 25 | 26 | 25.9 | 25.8 | 25.7 | 25.6 | 25.5 | 25.5 | 25.5 | 25.5 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0
13 | 25 | 26 | 25.9 | 25.8 | 25.7 | 25.6 | 25.5 | 25.5 | 25.5 | 25.5 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0
15 | 25 | 26 | 25.9 | 25.8 | 25.7 | 25.6 | 25.5 | 25.5 | 25.5 | 25.5 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0
17 | 25 | 26 | 25.9 | 25.8 | 25.7 | 25.6 | 25.5 | 25.5 | 25.5 | 25.5 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0
19 | 25 | 26 | 25.9 | 25.8 | 25.7 | 25.6 | 25.5 | 25.5 | 25.5 | 25.5 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0
21 | 25 | 26 | 25.9 | 25.8 | 25.7 | 25.6 | 25.5 | 25.5 | 25.5 | 25.5 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0
23 | 25 | 26 | 25.9 | 25.8 | 25.7 | 25.6 | 25.5 | 25.5 | 25.5 | 25.5 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0
25 | 25 | 26 | 25.9 | 25.8 | 25.7 | 25.6 | 25.5 | 25.5 | 25.5 | 25.5 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0
27 | 25 | 26 | 25.9 | 25.8 | 25.7 | 25.6 | 25.5 | 25.5 | 25.5 | 25.5 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0
29 | 25 | 26 | 25.9 | 25.8 | 25.7 | 25.6 | 25.5 | 25.5 | 25.5 | 25.5 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0
31 | 25 | 26 | 25.9 | 25.8 | 25.7 | 25.6 | 25.5 | 25.5 | 25.5 | 25.5 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0
33 | 25 | 26 | 25.9 | 25.8 | 25.7 | 25.6 | 25.5 | 25.5 | 25.5 | 25.5 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0
35 | 25 | 26 | 25.9 | 25.8 | 25.7 | 25.6 | 25.5 | 25.5 | 25.5 | 25.5 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0
37 | 25 | 26 | 25.9 | 25.8 | 25.7 | 25.6 | 25.5 | 25.5 | 25.5 | 25.5 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0
39 | 25 | 26 | 25.9 | 25.8 | 25.7 | 25.6 | 25.5 | 25.5 | 25.5 | 25.5 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0
41 | 25 | 26 | 25.9 | 25.8 | 25.7 | 25.6 | 25.5 | 25.5 | 25.5 | 25.5 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0
43 | 25 | 26 | 25.9 | 25.8 | 25.7 | 25.6 | 25.5 | 25.5 | 25.5 | 25.5 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0
45 | 25 | 26 | 25.9 | 25.8 | 25.7 | 25.6 | 25.5 | 25.5 | 25.5 | 25.5 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0
47 | 25 | 26 | 25.9 | 25.8 | 25.7 | 25.6 | 25.5 | 25.5 | 25.5 | 25.5 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0
49 | 25 | 26 | 25.9 | 25.8 | 25.7 | 25.6 | 25.5 | 25.5 | 25.5 | 25.5 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0
51 | 25 | 26 | 25.9 | 25.8 | 25.7 | 25.6 | 25.5 | 25.5 | 25.5 | 25.5 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0
53 | 25 | 26 | 25.9 | 25.8 | 25.7 | 25.6 | 25.5 | 25.5 | 25.5 | 25.5 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0
55 | 25 | 26 | 25.9 | 25.8 | 25.7 | 25.6 | 25.5 | 25.5 | 25.5 | 25.5 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0
57 | 25 | 26 | 25.9 | 25.8 | 25.7 | 25.6 | 25.5 | 25.5 | 25.5 | 25.5 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0
59 | 25 | 26 | 25.9 | 25.8 | 25.7 | 25.6 | 25.5 | 25.5 | 25.5 | 25.5 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0
61 | 25 | 26 | 25.9 | 25.8 | 25.7 | 25.6 | 25.5 | 25.5 | 25.5 | 25.5 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0
63 | 25 | 26 | 25.9 | 25.8 | 25.7 | 25.6 | 25.5 | 25.5 | 25.5 | 25.5 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0
65 | 25 | 26 | 25.9 | 25.8 | 25.7 | 25.6 | 25.5 | 25.5 | 25.5 | 25.5 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0
67 | 25 | 26 | 25.9 | 25.8 | 25.7 | 25.6 | 25.5 | 25.5 | 25.5 | 25.5 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0
69 | 25 | 26 | 25.9 | 25.8 | 25.7 | 25.6 | 25.5 | 25.5 | 25.5 | 25.5 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0
71 | 25 | 26 | 25.9 | 25.8 | 25.7 | 25.6 | 25.5 | 25.5 | 25.5 | 25.5 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0
73 | 25 | 26 | 25.9 | 25.8 | 25.7 | 25.6 | 25.5 | 25.5 | 25.5 | 25.5 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0
75 | 25 | 26 | 25.9 | 25.8 | 25.7 | 25.6 | 25.5 | 25.5 | 25.5 | 25.5 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0
77 | 25 | 26 | 25.9 | 25.8 | 25.7 | 25.6 | 25.5 | 25.5 | 25.5 | 25.5 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0
79 | 25 | 26 | 25.9 | 25.8 | 25.7 | 25.6 | 25.5 | 25.5 | 25.5 | 25.5 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0
81 | 25 | 26 | 25.9 | 25.8 | 25.7 | 25.6 | 25.5 | 25.5 | 25.5 | 25.5 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0
83 | 25 | 26 | 25.9 | 25.8 | 25.7 | 25.6 | 25.5 | 25.5 | 25.5 | 25.5 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0
85 | 25 | 26 | 25.9 | 25.8 | 25.7 | 25.6 | 25.5 | 25.5 | 25.5 | 25.5 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0
87 | 25 | 26 | 25.9 | 25.8 | 25.7 | 25.6 | 25.5 | 25.5 | 25.5 | 25.5 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0
89 | 25 | 26 | 25.9 | 25.8 | 25.7 | 25.6 | 25.5 | 25.5 | 25.5 | 25.5 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0
91 | 25 | 26 | 25.9 | 25.8 | 25.7 | 25.6 | 25.5 | 25.5 | 25.5 | 25.5 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0
93 | 25 | 26 | 25.9 | 25.8 | 25.7 | 25.6 | 25.5 | 25.5 | 25.5 | 25.5 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0
95 | 25 | 26 | 25.9 | 25.8 | 25.7 | 25.6 | 25.5 | 25.5 | 25.5 | 25.5 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0
97 | 25 | 26 | 25.9 | 25.8 | 25.7 | 25.6 | 25.5 | 25.5 | 25.5 | 25.5 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0
99 | 25 | 26 | 25.9 | 25.8 | 25.7 | 25.6 | 25.5 | 25.5 | 25.5 | 25.5 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0
101 | 25 | 26 | 25.9 | 25.8 | 25.7 | 25.6 | 25.5 | 25.5 | 25.5 | 25.5 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0
103 | 25 | 26 | 25.9 | 25.8 | 25.7 | 25.6 | 25.5 | 25.5 | 25.5 | 25.5 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0
105 | 25 | 26 | 25.9 | 25.8 | 25.7 | 25.6 | 25.5 | 25.5 | 25.5 | 25.5 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0 | -4 | -3 | -1 | 0 | 0 | 0